## Sheet1
	Test date	Test time	Test duration	Test sample rate	Processing sample rate	Measured B_dist			Measured SD			Measured |B|
						X	Y	Z	X	Y	Z
Weekend Test	30-06-2023
Weekday Test 1	03-07-2023
Light Off Test 1	04-07-2023
Light On Test 1	04-07-2023
Rack Elimination Test	04-07-2023
Coils Close	04-07-2023
Coils Wide	04-07-2023
Coils Normal	04-07-2023
Light Off Test 2	05-07-2021		360 s	2500
Light On Test 2	05-07-2022		360 s	2500
Weekday Test 2	05-07-2023
Fire Extinguisher Away	06-07-2023
Fire Extinguisher Control	06-07-2023
Weekday Test 3	06-07-2023
Spatial 50/0/0	12-07-2023		45 m	2500	100	-16.351	-8.831	-0.386	0.136	0.019	0.122	18.587
Spatial 50/-50/0	12-07-2023		45 m	2500	100	-17.134	-8.882	-0.912	0.126	0.021	0.102	19.321
Spatial 0/-50/0	12-07-2023		45 m	2500	100	-17.156	-8.333	-1.519	0.124	0.02	0.105	19.133
Spatial -50/-50/0	12-07-2023		45 m	2500	100	-17.08	-7.615	-3.07	0.128	0.02	0.093	18.951
Spatial -50/0/0	12-07-2023		45 m	2500	100	-16.379	-8.095	-1.073	0.118	0.021	0.103	18.302
Spatial -50/50/0	12-07-2023		45 m	2500	100	-15.064	-6.859	3.244	0.093	0.019	0.108	16.867
Spatial 0/50/0	12-07-2023		45 m	2500	100	-16.165	-8.337	1.339	0.103	0.019	0.106	18.237
Spatial 50/50/0	12-07-2023		45 m	2500	100	-15.225	-9.304	0.491	0.083	0.016	0.094	17.849
Spatial 0/0/0	12-07-2023		60 m	2500	100	-16.348	-8.391	-0.288	0.096	0.019	0.085	18.378