## Sheet1
Vector	Timeplot	Spectral	Time chunks	Informal Name	Formal Name	Test date	Test time	Test duration	Test sample rate	Processing sample rate	Measured B_dist			Measured SD			Measured |B|	Spectral Peak @ 50Hz	Data files	Processing files	Notes
											X	Y	Z	X	Y	Z
				Weekend Test	-	30-06-2023	15.07.51	60 h	100										WeekdayTest_2023-07-03_10.41.03.dat
				Weekday Test 1	Weekday 1	03-07-2023	10.41.03	24 h	100
				Light Off Test 1	-	04-07-2023			100
				Light On Test 1	-	04-07-2023			100
x				Rack Elimination Test	Rack Elimination	04-07-2023	12.51.32	60 m	100	100	-16.308	-8.308	-0.332	0.125	0.019	0.112	18.305		RackElimination_2023-07-04_12.51.32.dat	RackElimination_preprocessing.py / RackElimination_vectorplot.py
x				Rack Elimination Control	Rack Elimination Control	03-07-2023	13.00.00	60 m	100	100	-15.959	-8.769	-0.563	0.128	0.018	0.089	18.218		RackEliminationControl_2023-07-03_13.00.00.dat	RackElimination_preprocessing.py / RackElimination_vectorplot.py	Uses Weekday1 as control data
x				Coils Close	Coil Spacing – Close	04-07-2023	17.31.25	60 m	100	100	-16.253	-8.299	-0.336	0.059	0.017	0.050	18.252		CoilsClose_2023-07-04_17.31.25.dat	CoilSpacing_vectorplot.py
x				Coils Wide	Coil Spacing – Wide	04-07-2023	16.01.53	60 m	100	100	-16.262	-8.254	-0.331	0.105	0.019	0.090	18.24		CoilsWide_2023-07-04_16.01.53.dat	CoilSpacing_vectorplot.py
x				Coils Normal	Coil Spacing – Ideal	12-07-2023	14.15.31	60 m	2500	100	-16.348	-8.391	-0.288	0.096	0.019	0.085	18.378		SpatialX0Y0_2023-07-12_14.15.31_SPARSE25.dat	CoilSpacing_vectorplot.py	Uses SpatialX0Y0 test as control data
x		x		Light Off Test 2	Lights On	05-07-2023	11.04.28	360 s	2500	2500	-16.463	-8.375	-0.401	0.155	0.045	0.144	18.475		2500HzTestLightsOn_2023-07-05_11.04.28.dat	LightsOnOff_spectralplot.py
x		x		Light On Test 2	Lights Off	05-07-2023	11.13.36	360 s	2500	2500	-16.432	-8.372	-0.353	0.128	0.045	0.120	18.445		2500HzTestLightsOff_2023-07-05_11.13.36.dat	LightsOnOff_spectralplot.py
				Weekday Test 2	Weekday 2	05-07-2023	11.46.50	24+ h	2500	100									Weekday2500Hz_LightsOn_2023-07-05_11.46.50.dat	Weekday2_preprocessing.py / Weekday2_readout.py	Full-day 2500 S/s test intended to have the lights on, but it was discovered that the lights in the lab turn off automatically.
x				Fire Extinguisher Away	Fire Extinguisher	06-07-2023	18.03.29		1650	2500	-16.338	-8.324	-0.287	0.056	0.043	0.055	18.339		FireExtinguisherAway_2023-07-06_18.03.29.dat	FireExtinguisher_vectorplot.py
x				Fire Extinguisher Control	Fire Extinguisher Control	06-07-2023	18.32.02		720	2500	-16.351	-8.333	-0.275	0.039	0.043	0.048	18.354		FireExtinguisherControl_2023-07-06_18.32.02.dat	FireExtinguisher_vectorplot.py
x				Weekday Test 3	Weekday 3	06-07-2023	19h	24+ h	2500	100	-16.355	-8.335	-0.266	0.031	0.016	0.037	18.359		Weekday2500Hz_LightsOff_2023-07-06_19.12.02.dat	Weekday3_preprocessing.py / Weekday3_readout.py	Full-day 2500 S/s weekday test with the ceiling lights off for the full duration. This test was done to have a baseline to compare to another upcoming weekday test with the lights on for the full duration.
x							20h				-16.358	-8.334	-0.269	0.014	0.016	0.032	18.361
x							21h				-16.358	-8.333	-0.264	0.014	0.016	0.030	18.360
x							22h				-16.362	-8.335	-0.272	0.015	0.018	0.030	18.364
x							23h				-16.351	-8.333	-0.280	0.014	0.016	0.024	18.355
x							00h				-16.348	-8.325	-0.268	0.014	0.016	0.023	18.347
x							01h				-16.356	-8.327	-0.277	0.015	0.016	0.024	18.356
x							02h				-16.357	-8.324	-0.276	0.014	0.016	0.023	18.355
x							03h				-16.356	-8.319	-0.289	0.014	0.016	0.026	18.353
x							04h				-16.362	-8.316	-0.272	0.014	0.016	0.031	18.356
x							05h				-16.394	-8.343	-0.318	0.094	0.021	0.084	18.397
x							06h				-16.424	-8.363	-0.377	0.131	0.019	0.113	18.434
x							07h				-16.388	-8.351	-0.375	0.126	0.021	0.128	18.397
x							08h				-16.326	-8.348	-0.289	0.074	0.019	0.079	18.338
x							09h				-16.346	-8.361	-0.296	0.106	0.020	0.117	18.363
x							10h				-16.371	-8.406	-0.297	0.138	0.024	0.109	18.406
x							11h				-16.392	-8.418	-0.317	0.120	0.022	0.118	18.430
x							12h				-16.387	-8.425	-0.299	0.109	0.019	0.107	18.428
x							13h				-16.409	-8.433	-0.286	0.119	0.018	0.088	18.451
x							14h				-16.413	-8.426	-0.313	0.111	0.018	0.102	18.452
x							15h				-16.388	-8.414	-0.295	0.069	0.019	0.084	18.424
x							16h				-16.368	-8.403	-0.311	0.061	0.018	0.081	18.402
x							17h				-16.375	-8.395	-0.316	0.05	0.018	0.071	18.404
x							18h				-16.368	-8.366	-0.311	0.043	0.017	0.051	18.385
x							19h				-16.367	-8.359	-0.314	0.066	0.017	0.082	18.381
				Spatial 50/0/0	Spatial A	12-07-2023		45 m	2500	100	-16.351	-8.831	-0.386	0.136	0.019	0.122	18.587
				Spatial 50/-50/0	Spatial B	12-07-2023		45 m	2500	100	-17.134	-8.882	-0.912	0.126	0.021	0.102	19.321
				Spatial 0/-50/0	Spatial C	12-07-2023		45 m	2500	100	-17.156	-8.333	-1.519	0.124	0.02	0.105	19.133
				Spatial -50/-50/0	Spatial D	12-07-2023		45 m	2500	100	-17.08	-7.615	-3.07	0.128	0.02	0.093	18.951
				Spatial -50/0/0	Spatial E	12-07-2023		45 m	2500	100	-16.379	-8.095	-1.073	0.118	0.021	0.103	18.302
				Spatial -50/50/0	Spatial F	12-07-2023		45 m	2500	100	-15.064	-6.859	3.244	0.093	0.019	0.108	16.867
				Spatial 0/50/0	Spatial G	12-07-2023		45 m	2500	100	-16.165	-8.337	1.339	0.103	0.019	0.106	18.237
				Spatial 50/50/0	Spatial H	12-07-2023		45 m	2500	100	-15.225	-9.304	0.491	0.083	0.016	0.094	17.849
				Spatial 0/0/0	Spatial I	12-07-2023		60 m	2500	100	-16.348	-8.391	-0.288	0.096	0.019	0.085	18.378
				Weekday Test 4	Weekday 4	13-07-2023		24+ h	2500										Weekday4_2023-07-13_08.29.31.dat	Weekday4_preprocessing.py / Weekday4_readout.py / Weekday4_timeplot.py / Weekday4_spectralplot.py	Full-day 2500 S/s weekday test with the ceiling lights rigged to be ON for the full duration.

				TableElimination	Table Elimination	14-07-2023		45 m	2500	100	-18.399	-8.542	-0.333	0.091	0.02	0.089	20.288	-	TableElimination_2023-07-14_13.12.26_SPARSE25.dat	TableElimination_preprocessing.py / TableElimination_vectorplot.py
				TableEliminationControl	Table Elimination Control	14-07-2023		45 m	2500	100	-18.425	-8.576	-0.362	0.117	0.019	0.12	20.326	-	TableEliminationControl_2023-07-14_12.19.22_SPARSE25.dat	TableElimination_preprocessing.py / TableElimination_vectorplot.py

## Sheet2
1690293274.41525	10	100	1000
1690293275.41525	20	200	2000
1690296873.41525	30	300	3000
1690296874.41525	40	400	4000
1690300472.41525	50	500	5000
1690300473.41525	60	600	6000
1690304071	70	700	7000