## Sheet1
Vector	Timeplot	Spectral	Time chunks	Informal Name	Formal Name	Test date	Test time	Test duration	Test sample rate	Processing sample rate	Measured B_dist			Measured SD			Measured |B|	Data files	Processing files	Notes
											X	Y	Z	X	Y	Z
				Weekend Test	-	30-06-2023	15.07.51	60 h	100									WeekendTest_2023-06-30_15.07.51.dat	-
	x			Weekday Test 1	Weekday 1	03-07-2023	10.41.03	24 h	100									WeekdayTest_2023-07-03_10.41.03.dat	Weekday1_readout.py / Weekday1_timeplot.py / Weekday1_vectorplot.py
				Light Off Test 1	-	04-07-2023			100									LightOff_2023-07-04_10.57.37.dat / LightOff_2023-07-04_11.13.19.dat / LightOff_2023-07-04_11.27.14.dat / LightOff_2023-07-04_11.42.11.dat	-
				Light On Test 1	-	04-07-2023			100									LightOn_2023-07-04_10.52.22.dat / LightOn_2023-07-04_11.05.10.dat / LightOn_2023-07-04_11.18.38.dat / LightOn_2023-07-04_11.33.19.dat	-
x				Rack Elimination Test	Rack Elimination	04-07-2023	12.51.32	60 m	100	100	-16.308	-8.308	-0.332	0.125	0.019	0.112	18.305	RackElimination_2023-07-04_12.51.32.dat	RackElimination_preprocessing.py / RackElimination_vectorplot.py
x				Rack Elimination Control	Rack Elimination Control	03-07-2023	13.00.00	60 m	100	100	-15.959	-8.769	-0.563	0.128	0.018	0.089	18.218	RackEliminationControl_2023-07-03_13.00.00.dat	RackElimination_preprocessing.py / RackElimination_vectorplot.py	Uses Weekday1 as control data
x				Coils Close	Coil Spacing – Close	04-07-2023	17.31.25	60 m	100	100	-16.253	-8.299	-0.336	0.059	0.017	0.050	18.252	CoilsClose_2023-07-04_17.31.25.dat	CoilSpacing_vectorplot.py
x				Coils Wide	Coil Spacing – Wide	04-07-2023	16.01.53	60 m	100	100	-16.262	-8.254	-0.331	0.105	0.019	0.090	18.24	CoilsWide_2023-07-04_16.01.53.dat	CoilSpacing_vectorplot.py
x				Coils Normal	Coil Spacing – Ideal	12-07-2023	14.15.31	60 m	2500	100	-16.348	-8.391	-0.288	0.096	0.019	0.085	18.378	SpatialX0Y0_2023-07-12_14.15.31_SPARSE25.dat	CoilSpacing_vectorplot.py	Uses SpatialX0Y0 test as control data
x		x		Light Off Test 2	Lights On	05-07-2023	11.04.28	360 s	2500	2500	-16.463	-8.375	-0.401	0.155	0.045	0.144	18.475	2500HzTestLightsOn_2023-07-05_11.04.28.dat	LightsOnOff_spectralplot.py
x		x		Light On Test 2	Lights Off	05-07-2023	11.13.36	360 s	2500	2500	-16.432	-8.372	-0.353	0.128	0.045	0.120	18.445	2500HzTestLightsOff_2023-07-05_11.13.36.dat	LightsOnOff_spectralplot.py
skip	x			Weekday Test 2	Weekday 2	05-07-2023	11.46.50	24+ h	2500	100								Weekday2500Hz_LightsOn_2023-07-05_11.46.50.dat	Weekday2_preprocessing.py / Weekday2_timeplot.py	Full-day 2500 S/s test intended to have the lights on, but it was discovered that the lights in the lab turn off automatically.
x				Fire Extinguisher Away	Fire Extinguisher	06-07-2023	18.03.29		1650	2500	-16.338	-8.324	-0.287	0.056	0.043	0.055	18.339	FireExtinguisherAway_2023-07-06_18.03.29.dat	FireExtinguisher_vectorplot.py
x				Fire Extinguisher Control	Fire Extinguisher Control	06-07-2023	18.32.02		720	2500	-16.351	-8.333	-0.275	0.039	0.043	0.048	18.354	FireExtinguisherControl_2023-07-06_18.32.02.dat	FireExtinguisher_vectorplot.py
x	x		skip	Weekday Test 3	Weekday 3	06-07-2023	19h	24+ h	2500	100	-16.355	-8.335	-0.266	0.031	0.016	0.037	18.359	Weekday2500Hz_LightsOff_2023-07-06_19.12.02.dat	Weekday3_preprocessing.py / Weekday3_timeplot.py / Weekday3_vectorplot.py	Full-day 2500 S/s weekday test with the ceiling lights off for the full duration. This test was done to have a baseline to compare to another upcoming weekday test with the lights on for the full duration.
x	x		skip				20h				-16.358	-8.334	-0.269	0.014	0.016	0.032	18.361
x	x		skip				21h				-16.358	-8.333	-0.264	0.014	0.016	0.030	18.360
x	x		skip				22h				-16.362	-8.335	-0.272	0.015	0.018	0.030	18.364
x	x		skip				23h				-16.351	-8.333	-0.280	0.014	0.016	0.024	18.355
x	x		skip				00h				-16.348	-8.325	-0.268	0.014	0.016	0.023	18.347
x	x		skip				01h				-16.356	-8.327	-0.277	0.015	0.016	0.024	18.356
x	x		skip				02h				-16.357	-8.324	-0.276	0.014	0.016	0.023	18.355
x	x		skip				03h				-16.356	-8.319	-0.289	0.014	0.016	0.026	18.353
x	x		skip				04h				-16.362	-8.316	-0.272	0.014	0.016	0.031	18.356
x	x		skip				05h				-16.394	-8.343	-0.318	0.094	0.021	0.084	18.397
x	x		skip				06h				-16.424	-8.363	-0.377	0.131	0.019	0.113	18.434
x	x		skip				07h				-16.388	-8.351	-0.375	0.126	0.021	0.128	18.397
x	x		skip				08h				-16.326	-8.348	-0.289	0.074	0.019	0.079	18.338
x	x		skip				09h				-16.346	-8.361	-0.296	0.106	0.020	0.117	18.363
x	x		skip				10h				-16.371	-8.406	-0.297	0.138	0.024	0.109	18.406
x	x		skip				11h				-16.392	-8.418	-0.317	0.120	0.022	0.118	18.430
x	x		skip				12h				-16.387	-8.425	-0.299	0.109	0.019	0.107	18.428
x	x		skip				13h				-16.409	-8.433	-0.286	0.119	0.018	0.088	18.451
x	x		skip				14h				-16.413	-8.426	-0.313	0.111	0.018	0.102	18.452
x	x		skip				15h				-16.388	-8.414	-0.295	0.069	0.019	0.084	18.424
x	x		skip				16h				-16.368	-8.403	-0.311	0.061	0.018	0.081	18.402
x	x		skip				17h				-16.375	-8.395	-0.316	0.05	0.018	0.071	18.404
x	x		skip				18h				-16.368	-8.366	-0.311	0.043	0.017	0.051	18.385
x	x		skip				19h				-16.367	-8.359	-0.314	0.066	0.017	0.082	18.381
x		skip		Spatial 50/0/0	Spatial A	12-07-2023		45 m	2500	100	-16.351	-8.831	-0.386	0.136	0.019	0.122	18.587	SpatialX+50Y+0_2023-07-12_06.49.34_SPARSE25.dat	SpatialTest_vectorplot.py
x		skip		Spatial 50/-50/0	Spatial B	12-07-2023		45 m	2500	100	-17.134	-8.882	-0.912	0.126	0.021	0.102	19.321	SpatialX+50Y-50_2023-07-12_07.38.19_SPARSE25.dat	SpatialTest_vectorplot.py
x		skip		Spatial 0/-50/0	Spatial C	12-07-2023		45 m	2500	100	-17.156	-8.333	-1.519	0.124	0.02	0.105	19.133	SpatialX0Y-50_2023-07-12_08.37.24_SPARSE25.dat	SpatialTest_vectorplot.py
x		skip		Spatial -50/-50/0	Spatial D	12-07-2023		45 m	2500	100	-17.08	-7.615	-3.07	0.128	0.02	0.093	18.951	SpatialX-50Y-50_2023-07-12_09.46.26_SPARSE25.dat	SpatialTest_vectorplot.py
x		skip		Spatial -50/0/0	Spatial E	12-07-2023		45 m	2500	100	-16.379	-8.095	-1.073	0.118	0.021	0.103	18.302	SpatialX-50Y0_2023-07-12_10.35.41_SPARSE25.dat	SpatialTest_vectorplot.py
x		skip		Spatial -50/50/0	Spatial F	12-07-2023		45 m	2500	100	-15.064	-6.859	3.244	0.093	0.019	0.108	16.867	SpatialX-50Y+50_2023-07-12_11.29.49_SPARSE25.dat	SpatialTest_vectorplot.py
x		skip		Spatial 0/50/0	Spatial G	12-07-2023		45 m	2500	100	-16.165	-8.337	1.339	0.103	0.019	0.106	18.237	SpatialX0Y-50_2023-07-12_08.37.24_SPARSE25.dat	SpatialTest_vectorplot.py
x		skip		Spatial 50/50/0	Spatial H	12-07-2023		45 m	2500	100	-15.225	-9.304	0.491	0.083	0.016	0.094	17.849	SpatialX+50Y+50_2023-07-12_13.18.39_SPARSE25.dat	SpatialTest_vectorplot.py
x		skip		Spatial 0/0/0	Spatial I	12-07-2023		60 m	2500	100	-16.348	-8.391	-0.288	0.096	0.019	0.085	18.378	SpatialX0Y0_2023-07-12_14.15.31_SPARSE25.dat	SpatialTest_vectorplot.py
x	x		x	Weekday Test 4	Weekday 4	13-07-2023	09h	24+ h	2500	2500, 100	-16.387	-8.341	-0.298	0.127	0.019	0.105	18.390	Weekday4_2023-07-13_08.29.31.dat	Weekday4_preprocessing.py / Weekday4_timeplot.py / Weekday4_vectorplot.py	Full-day 2500 S/s weekday test with the ceiling lights rigged to be ON for the full duration.
x	x		x				10h				-16.356	-8.356	-0.254	0.108	0.019	0.097	18.368
x	x		x				11h				-16.370	-8.364	-0.30	0.119	0.02	0.110	18.386
x	x		x				12h				-16.388	-8.372	-0.283	0.119	0.019	0.112	18.405
x	x		x				13h				-16.384	-8.384	-0.278	0.102	0.019	0.100	18.407
x	x		x				14h				-16.373	-8.376	-0.25	0.085	0.019	0.082	18.393
x	x		x				15h				-16.377	-8.358	-0.248	0.094	0.020	0.097	18.388
x	x		x				16h				-16.375	-8.339	-0.239	0.083	0.018	0.084	18.378
x	x		x				17h				-16.355	-8.329	-0.209	0.033	0.017	0.038	18.354
x	x		x				18h				-16.359	-8.320	-0.230	0.040	0.016	0.055	18.355
x	x		x				19h				-16.362	-8.320	-0.215	0.043	0.016	0.054	18.357
x	x		x				20h				-16.350	-8.322	-0.209	0.020	0.015	0.032	18.348
x	x		x				21h				-16.352	-8.324	-0.209	0.020	0.016	0.031	18.350
x	x		x				22h				-16.354	-8.325	-0.227	0.014	0.015	0.028	18.352
x	x		x				23h				-16.355	-8.325	-0.229	0.014	0.015	0.024	18.354
x	x		x				00h				-16.356	-8.329	-0.221	0.014	0.015	0.024	18.356
x	x		x				01h				-16.355	-8.328	-0.223	0.014	0.015	0.024	18.355
x	x		x				02h				-16.347	-8.333	-0.218	0.014	0.016	0.024	18.350
x	x		x				03h				-16.336	-8.316	-0.220	0.014	0.016	0.027	18.333
x	x		x				04h				-16.328	-8.320	-0.214	0.015	0.015	0.032	18.327
x	x		x				05h				-16.348	-8.319	-0.242	0.079	0.017	0.085	18.345
x	x		x				06h				-16.353	-8.337	-0.303	0.116	0.019	0.105	18.358
x	x		x				07h				-16.349	-8.334	-0.337	0.127	0.019	0.110	18.354
x	x		x				08h				-16.312	-8.334	-0.301	0.109	0.019	0.104	18.320
							AVERAGE				-16.358	-8.338	-0.248	0.063	0.017	0.066	18.362
	x	x							2500	2500	-	-	-	0.0449	0.0449	0.0482	-	Weekday4_2023-07-13_08.29.31_sample_day.dat	Weekday4_preprocessing2.py / Weekday4_filtering.py	day_unfiltered
	x	x							2500	2500	-	-	-	0.0985	0.0549	0.0528	-	Weekday4_2023-07-13_08.29.31_sample_night.dat		night_unfiltered
	x	x							2500	2500	-	-	-	0.0228	0.0167	0.0263	-	Weekday4_2023-07-13_08.29.31_sample_day.dat		day_sgf
	x	x							2500	2500	-	-	-	0.0195	0.0152	0.0150	-	Weekday4_2023-07-13_08.29.31_sample_night.dat		night_sgf
	x	x							2500	2500	-	-	-	0.0051	0.0053	0.0085	-	Weekday4_2023-07-13_08.29.31_sample_day.dat		day_sgf_notch
	x	x							2500	2500	-	-	-	0.0046	0.0018	0.0038	-	Weekday4_2023-07-13_08.29.31_sample_night.dat		night_sgf_notch
x				TableElimination	Table Elimination	14-07-2023		45 m	2500	100	-18.399	-8.542	-0.333	0.091	0.02	0.089	20.288	TableElimination_2023-07-14_13.12.26_SPARSE25.dat	TableElimination_preprocessing.py / TableElimination_vectorplot.py
x				TableEliminationControl	Table Elimination Control	14-07-2023		45 m	2500	100	-18.425	-8.576	-0.362	0.117	0.019	0.12	20.326	TableEliminationControl_2023-07-14_12.19.22_SPARSE25.dat	TableElimination_preprocessing.py / TableElimination_vectorplot.py

## Sheet2
1690293274.41525	10	100	1000
1690293275.41525	20	200	2000
1690296873.41525	30	300	3000
1690296874.41525	40	400	4000
1690300472.41525	50	500	5000
1690300473.41525	60	600	6000
1690304071	70	700	7000