## Sheet1
Vector	Timeplot	Spectral	Time chunks	Informal Name	Formal Name	Test date	Test time	Test duration	Test sample rate	Processing sample rate	Measured B_dist			Measured SD			Measured |B|	Spectral Peak @ 50Hz	Files	Notes
											X	Y	Z	X	Y	Z
				Weekend Test	-	30-06-2023	15.07.51	60 h	100
				Weekday Test 1	-	03-07-2023	10.41.03	24 h	100
				Light Off Test 1	-	04-07-2023			100
				Light On Test 1	-	04-07-2023			100
				Rack Elimination Test	Rack Elimination	04-07-2023			100
				Coils Close	Coil Spacing – Close	04-07-2023			100	100	-16.253	-8.299	-0.336	0.059	0.017	0.050	18.252		CoilSpacing_vectorplot.py
				Coils Wide	Coil Spacing – Wide	04-07-2023			100	100	-16.262	-8.254	-0.331	0.105	0.019	0.090	18.24		CoilSpacing_vectorplot.py
				Coils Normal	Coil Spacing – Ideal	04-07-2023			2500	100	-16.348	-8.391	-0.288	0.096	0.019	0.085	18.378		CoilSpacing_vectorplot.py
				Light Off Test 2	Light Off	05-07-2021		360 s	2500
				Light On Test 2	Light On	05-07-2022		360 s	2500
				Weekday Test 2	-	05-07-2023
				Fire Extinguisher Away	Fire Extinguisher	06-07-2023
				Fire Extinguisher Control	Fire Extinguisher Control	06-07-2023
				Weekday Test 3	Weekday A	06-07-2023	19h	24+ h	2500	100	-16.355	-8.335	-0.266	0.031	0.016	0.037	18.359
							20h				-16.358	-8.334	-0.269	0.014	0.016	0.032	18.361
							21h				-16.358	-8.333	-0.264	0.014	0.016	0.030	18.360
							22h				-16.362	-8.335	-0.272	0.015	0.018	0.030	18.364
							23h				-16.351	-8.333	-0.280	0.014	0.016	0.024	18.355
							00h				-16.348	-8.325	-0.268	0.014	0.016	0.023	18.347
							01h				-16.356	-8.327	-0.277	0.015	0.016	0.024	18.356
							02h				-16.357	-8.324	-0.276	0.014	0.016	0.023	18.355
							03h				-16.356	-8.319	-0.289	0.014	0.016	0.026	18.353
							04h				-16.362	-8.316	-0.272	0.014	0.016	0.031	18.356
							05h				-16.394	-8.343	-0.318	0.094	0.021	0.084	18.397
							06h				-16.424	-8.363	-0.377	0.131	0.019	0.113	18.434
							07h				-16.388	-8.351	-0.375	0.126	0.021	0.128	18.397
							08h				-16.326	-8.348	-0.289	0.074	0.019	0.079	18.338
							09h				-16.346	-8.361	-0.296	0.106	0.020	0.117	18.363
							10h				-16.371	-8.406	-0.297	0.138	0.024	0.109	18.406
							11h				-16.392	-8.418	-0.317	0.120	0.022	0.118	18.430
							12h				-16.387	-8.425	-0.299	0.109	0.019	0.107	18.428
							13h				-16.409	-8.433	-0.286	0.119	0.018	0.088	18.451
							14h				-16.413	-8.426	-0.313	0.111	0.018	0.102	18.452
							15h				-16.388	-8.414	-0.295	0.069	0.019	0.084	18.424
							16h				-16.368	-8.403	-0.311	0.061	0.018	0.081	18.402
							17h				-16.375	-8.395	-0.316	0.05	0.018	0.071	18.404
							18h				-16.368	-8.366	-0.311	0.043	0.017	0.051	18.385
							19h				-16.367	-8.359	-0.314	0.066	0.017	0.082	18.381

				Spatial 50/0/0	Spatial A	12-07-2023		45 m	2500	100	-16.351	-8.831	-0.386	0.136	0.019	0.122	18.587
				Spatial 50/-50/0	Spatial B	12-07-2023		45 m	2500	100	-17.134	-8.882	-0.912	0.126	0.021	0.102	19.321
				Spatial 0/-50/0	Spatial C	12-07-2023		45 m	2500	100	-17.156	-8.333	-1.519	0.124	0.02	0.105	19.133
				Spatial -50/-50/0	Spatial D	12-07-2023		45 m	2500	100	-17.08	-7.615	-3.07	0.128	0.02	0.093	18.951
				Spatial -50/0/0	Spatial E	12-07-2023		45 m	2500	100	-16.379	-8.095	-1.073	0.118	0.021	0.103	18.302
				Spatial -50/50/0	Spatial F	12-07-2023		45 m	2500	100	-15.064	-6.859	3.244	0.093	0.019	0.108	16.867
				Spatial 0/50/0	Spatial G	12-07-2023		45 m	2500	100	-16.165	-8.337	1.339	0.103	0.019	0.106	18.237
				Spatial 50/50/0	Spatial H	12-07-2023		45 m	2500	100	-15.225	-9.304	0.491	0.083	0.016	0.094	17.849
				Spatial 0/0/0	Spatial I	12-07-2023		60 m	2500	100	-16.348	-8.391	-0.288	0.096	0.019	0.085	18.378
				Weekday Test 4	Weekday B	13-07-2023		24+ h	2500

				TableElimination	Table Elimination	14-07-2023		45 m	2500
				TableEliminationControl	Table Elimination Control	14-07-2023		45 m	2500