## Sheet1
Vector	Timeplot	Spectral	Time chunks		Test date	Test time	Test duration	Test sample rate	Processing sample rate	Measured B_dist			Measured SD			Measured |B|
										X	Y	Z	X	Y	Z
				Weekend Test	30-06-2023
				Weekday Test 1	03-07-2023		24 h
				Light Off Test 1	04-07-2023
				Light On Test 1	04-07-2023
				Rack Elimination Test	04-07-2023
				Coils Close	04-07-2023
				Coils Wide	04-07-2023
				Coils Normal	04-07-2023
				Light Off Test 2	05-07-2021		360 s	2500
				Light On Test 2	05-07-2022		360 s	2500
				Weekday Test 2	05-07-2023
				Fire Extinguisher Away	06-07-2023
				Fire Extinguisher Control	06-07-2023
				Weekday Test 3	06-07-2023		24+ h
				Spatial 50/0/0	12-07-2023		45 m	2500	100	-16.351	-8.831	-0.386	0.136	0.019	0.122	18.587
				Spatial 50/-50/0	12-07-2023		45 m	2500	100	-17.134	-8.882	-0.912	0.126	0.021	0.102	19.321
				Spatial 0/-50/0	12-07-2023		45 m	2500	100	-17.156	-8.333	-1.519	0.124	0.02	0.105	19.133
				Spatial -50/-50/0	12-07-2023		45 m	2500	100	-17.08	-7.615	-3.07	0.128	0.02	0.093	18.951
				Spatial -50/0/0	12-07-2023		45 m	2500	100	-16.379	-8.095	-1.073	0.118	0.021	0.103	18.302
				Spatial -50/50/0	12-07-2023		45 m	2500	100	-15.064	-6.859	3.244	0.093	0.019	0.108	16.867
				Spatial 0/50/0	12-07-2023		45 m	2500	100	-16.165	-8.337	1.339	0.103	0.019	0.106	18.237
				Spatial 50/50/0	12-07-2023		45 m	2500	100	-15.225	-9.304	0.491	0.083	0.016	0.094	17.849
				Spatial 0/0/0	12-07-2023		60 m	2500	100	-16.348	-8.391	-0.288	0.096	0.019	0.085	18.378
				Weekday Test 4	13-07-2023		24+ h
				TableElimination	14-07-2023
				TableEliminationControl	14-07-2023